Form 4327

Physical needs assessment

Physical Needs Assessment

| Prepared By: |  |
| --- | --- |
| Date: |  |

Part 1 Terms of Reference

| Project: |  |
| --- | --- |
| Address: |  |
| Contact Name: |  |
| Title: |  | E-mail Address |  |
| Telephone No.: |  | Fax No. |  |
| Age of Property |  |

| Property Data |
| --- |
| Unit Breakdown | Total No. of Units | Size (s.f.) |
| Studio |  |  |
| 1 BR/ 1 bath |  |  |
| 1 BR/ 1.5 bath |  |  |
| 2 BR/ 1 bath |  |  |
| 2 BR/ 1.5 bath |  |  |
| 2 BR/ 2 bath |  |  |
| 3 BR/ 1 bath |  |  |
| 3 BR/ 1.5 bath |  |  |
| 3 BR/ 2 bath |  |  |
| 3 BR/ 3 bath |  |  |
| 4 BR/ 2 bath |  |  |
| 4 BR/ 3 bath |  |  |
| Other |  |  |
| Total |  |  |
| # Occupied |  |  |
| # Vacant |  |  |
| # Down |  |  |
| # Models |  |  |
| Tenant Profile (yes/no) | Family |  |
|  | Elderly |  |

| Site Configuration |
| --- |
| Site Size |  |
| Configuration |  |
| Topography |  |
| Drainage |  |

Sampling Expectation

Surveyed areas generally consist of public and common areas such a parking facilities and the grounds in general, corridors and walkways, laundry facilities, apartment building roofs, accessible dwelling units and equipment rooms.

SURVEYED UNITS INCLUDE:

| Market Issues |
| --- |
| Item | Timing |

| Work in Progress |
| --- |
| Item | Quantity | Cost ($) | % Complete | Comments |

| Management Reported Replacements |
| --- |
| Item | Quantity | Cost ($) | Date Replaced | Comments |

Management Proposed Work

During our on-site interview, management indicated the following items of work were proposed to be completed in the near future.

Part 2 Systems and Conditions

| Site |
| --- |
| Item | Estimated Useful Life | Condition | Effective Remaining Life | Action | Immediate Repairs | Future Replacements | Field Notes |
|  |  |  |  |  | Quantity | Total Cost | Quantity | Years 1-5 | Years 6-10 |  |
| Asphalt Concrete | 25 |  |  |  |  |  |  |  |  |  |
| Seal Coat | 5 |  |  |  |  |  |  |  |  |  |
| Striping | 5 |  |  |  |  |  |  |  |  |  |
| Concrete Swale | 30 |  |  |  |  |  |  |  |  |  |
| Curb & Gutter | 30 |  |  |  |  |  |  |  |  |  |
| Pedestrian Paving/ Hardscape – Concrete | 30 |  |  |  |  |  |  |  |  |  |
| Signage | 15 |  |  |  |  |  |  |  |  |  |
| Site Water Lines / Main | 40 |  |  |  |  |  |  |  |  |  |
| Site Sanitary Lines / Main | 50+ |  |  |  |  |  |  |  |  |  |
| Site Lighting | 25 |  |  |  |  |  |  |  |  |  |
| Site Drainage (Storm Drainage) | 50+ |  |  |  |  |  |  |  |  |  |
| Landscaping | 50+ |  |  |  |  |  |  |  |  |  |
| Site Fences | 40 |  |  |  |  |  |  |  |  |  |
| Swimming Pool / Spas | 15 |  |  |  |  |  |  |  |  |  |
| Trash Dumpsters and Enclosures | 10 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Subtotal |  |  |  |

| Explanation of ratings: Abu = Abused, vandalized or damaged, in need of replacement P = Poor, neglected condition F = Fair, in working or usable condition but in need of maintenance | A = Average, in satisfactory condition, standard for this type of building G = Good, above average condition, not excellent E = Excellent, maintained in "as new" condition NA = Not applicable |
| --- | --- |

| Architectural |
| --- |
| Item | Estimated Useful Life | Condition | Effective Remaining Life | Action | Immediate Repairs | Future Replacements | Field Notes |
|  |  |  |  |  | Quantity | Total Cost | Quantity | Years 1-5 | Years 6-10 |  |
| Carports | 40 |  |  |  |  |  |  |  |  |  |
| Foundation | 50 |  |  |  |  |  |  |  |  |  |
| Building Slab | 50 |  |  |  |  |  |  |  |  |  |
| Upper Level Floor (structural) | 50 |  |  |  |  |  |  |  |  |  |
| Walls / Roof (structural) | 50 |  |  |  |  |  |  |  |  |  |
| Exterior Walls | 40 |  |  |  |  |  |  |  |  |  |
| Exterior Paint | 5 |  |  |  |  |  |  |  |  |  |
| Doors and Frames | 25 |  |  |  |  |  |  |  |  |  |
| Windows and Frames | 30 |  |  |  |  |  |  |  |  |  |
| Stairs (structural / finish) (Interior and Exterior) | 20 |  |  |  |  |  |  |  |  |  |
| Balconies/Handrails/ Guardrails | 50 |  |  |  |  |  |  |  |  |  |
| Soffits – wood / stucco / concrete | 5 |  |  |  |  |  |  |  |  |  |
| Decks / Patios – Concrete | 40 |  |  |  |  |  |  |  |  |  |
| Roof Coverings | 20 |  |  |  |  |  |  |  |  |  |
| Roof Drainage | 25 |  |  |  |  |  |  |  |  |  |
| Mail Facilities | 10 |  |  |  |  |  |  |  |  |  |
| Washing Machines | 10 |  |  |  |  |  |  |  |  |  |
| Clothes Dryer | 12 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Subtotal |  |  |  |

| Explanation of ratings: Abu = Abused, vandalized or damaged, in need of replacement P = Poor, neglected condition F = Fair, in working or usable condition but in need of maintenance | A = Average, in satisfactory condition, standard for this type of building G = Good, above average condition, not excellent E = Excellent, maintained in "as new" condition NA = Not applicable |
| --- | --- |

| Mechanical / Electrical |
| --- |
| Item | Estimated Useful Life | Condition | Effective Remaining Life | Action | Immediate Repairs | Future Replacements | Field Notes |
|  |  |  |  |  | Quantity | Total Cost | Quantity | Years 1-5 | Years 6-10 |  |
| Hot & Cold Water Distribution | 50 |  |  |  |  |  |  |  |  |  |
| Water Boiler | 25 |  |  |  |  |  |  |  |  |  |
| Domestic Water Heaters | 15 |  |  |  |  |  |  |  |  |  |
| Sanitary Waste & Vent (Sewer) | 50+ |  |  |  |  |  |  |  |  |  |
| Heating | 15 |  |  |  |  |  |  |  |  |  |
| Cooling | 15 |  |  |  |  |  |  |  |  |  |
| Building Power/Wiring | 50 |  |  |  |  |  |  |  |  |  |
| Switchgear/Metering | 50 |  |  |  |  |  |  |  |  |  |
| Unit Subpanels | 50+ |  |  |  |  |  |  |  |  |  |
| Site Lighting | 25 |  |  |  |  |  |  |  |  |  |
| Site Drainage (Storm Drainage) | 30 |  |  |  |  |  |  |  |  |  |
| Elevator | 50+ |  |  |  |  |  |  |  |  |  |
| Trash Compactor | 15 |  |  |  |  |  |  |  |  |  |
| Emergency Generator | 35 |  |  |  |  |  |  |  |  |  |
| Emergency Alarm System | 15 |  |  |  |  |  |  |  |  |  |
| Emergency Lights | 10 |  |  |  |  |  |  |  |  |  |
| Fire Detection / Heat Sensors / Central Panel | 15 |  |  |  |  |  |  |  |  |  |
| Fire Suppression | 50+ |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Subtotal |  |  |  |

| Explanation of ratings: Abu = Abused, vandalized or damaged, in need of replacement P = Poor, neglected condition F = Fair, in working or usable condition but in need of maintenance | A = Average, in satisfactory condition, standard for this type of building G = Good, above average condition, not excellent E = Excellent, maintained in "as new" condition NA = Not applicable |
| --- | --- |

| Dwelling Units |
| --- |
| Item | Estimated Useful Life | Condition | Effective Remaining Life | Action | Immediate Repairs | Future Replacements | Field Notes |
|  |  |  |  |  | Quantity | Total Cost | Quantity | Years 1-5 | Years 6-10 |  |
| Smoke / Fire Detection | 10 |  |  |  |  |  |  |  |  |  |
| Window Coverings | 12 |  |  |  |  |  |  |  |  |  |
| Carpet | 7 |  |  |  |  |  |  |  |  |  |
| Resilient Flooring (Vinyl) | 15 |  |  |  |  |  |  |  |  |  |
| Cabinetry | 20 |  |  |  |  |  |  |  |  |  |
| Countertops and Sinks | 10 |  |  |  |  |  |  |  |  |  |
| Refrigerator | 15 |  |  |  |  |  |  |  |  |  |
| Range / Stove | 15 |  |  |  |  |  |  |  |  |  |
| Range Vent / Hood | 15 |  |  |  |  |  |  |  |  |  |
| Dishwasher | 10 |  |  |  |  |  |  |  |  |  |
| Disposal | 5 |  |  |  |  |  |  |  |  |  |
| Microwave | 10 |  |  |  |  |  |  |  |  |  |
| Clothes Washer | 10 |  |  |  |  |  |  |  |  |  |
| Clothes Dryer | 12 |  |  |  |  |  |  |  |  |  |
| Bathroom Improvements | 20 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Subtotal |  |  |  |

| Explanation of ratings: Abu = Abused, vandalized or damaged, in need of replacement P = Poor, neglected condition F = Fair, in working or usable condition but in need of maintenance | A = Average, in satisfactory condition, standard for this type of building G = Good, above average condition, not excellent E = Excellent, maintained in "as new" condition NA = Not applicable |
| --- | --- |